## Read Me - Instructions
Introduction The topic areas and key concept knowledge areas on the next tab outline the technical content that is used to evaluate training programs that submit for recognition. The required scoring criteria are consistent with the most recent Department of Energy (DOE) led and industry-validated Jobs Task Analysis. The MultiFamily Energy Auditor Job Task Analysis was developed by the National Renewable Energy Laboratory and can be viewed at the link below:
https://www.nrel.gov/docs/fy14osti/60447.pdf
To use this scoring tool: 1. Navigate to the Multifamily Energy Audit tab of this file. Review the Domains in Column B and the Tasks in Column C. 2. In the column titled “Covered in Material?” mark each line item as Y (your program covers the knowledge area) or N (your program does not cover the knowledge area). 3. In the column titled "Documentation," please indicate where in your supporting materials this info can be found. This will help the evaluators confirm your materials cover the topic area. 4. All required items must be covered in your program. Recommended items are encouraged. 5. If you have not met all required items, you can contact us at BSESC@pnnl.gov for help aligning your content with resources from the Building Science Education Solution Center.

## Multifamily Energy Audit
Multifamily Energy Audit
Domains | Tasks | Covered in Material? | Documentation Please indicate where in your supporting materials this info can be found | Required or Recommended? | Your Score | All Required Items Met?
Customer relations and business development | Review the scope, process, and schedule with the property owner / tenant. Identify concerns and goals | n |  | Recommended | Incomplete | Need Required Items
| Identify measures to help the property owner / tenant meet the objectives of the audit | n |  | Recommended | Incomplete
| Identify and communicate knowledge of local utility rebates, financing, or other relevant assistance programs | n |  | Recommended | Incomplete
| Have skills in listening, verbal and nonverbal communication | n |  | Recommended | Incomplete
| Have knowledge of climate and emissions, and comfort and health impacts of home energy use | n |  | Recommended | Incomplete
Determining Scope of Energy Assessment | Interview Client to Determine Objectives | n |  | Required | Incomplete
| Collect Scoping Data | n |  | Required | Incomplete
| Determine Feasibility of Audit Scope | n |  | Required | Incomplete
| Establish Scope of Services | n |  | Required | Incomplete
Preparing for Site Visit | Review Building Plans | n |  | Required | Incomplete
| Perform Utility Bill Analysis | n |  | Required | Incomplete
| Perform Site Visit Planning | n |  | Required | Incomplete
Assessing Heating and Cooling System | Identify Heating and Cooling Systems | n |  | Required | Incomplete
| Assess Heating and Cooling Distribution System | n |  | Required | Incomplete
| Assess Heating and Cooling Controls | n |  | Required | Incomplete
| Assess Heat-Related Health and Safety Conditions | n |  | Required | Incomplete
| Assess Cooling-Related Health and Safety Conditions | n |  | Required | Incomplete
| Conduct Heating and Cooling System Performance Evaluation | n |  | Required | Incomplete
| Review Heating and Cooling Operations and Maintenance Procedures | n |  | Required | Incomplete
Assessing Building Enclosure | Assess Wall Assembly | n |  | Required | Incomplete
| Assess Roof and Attic Assembly | n |  | Required | Incomplete
| Assess Window and Door Types | n |  | Required | Incomplete
| Assess Foundation and Floor System Condition | n |  | Required | Incomplete
| Test Envelope Infiltration | n |  | Required | Incomplete
| Evaluate Enclosure Health and Safety Conditions | n |  | Required | Incomplete
| Review Enclosure Operations and Maintenance Procedures | n |  | Required | Incomplete
Evaluating Lighting conditions | Identify Lighting System Types | n |  | Required | Incomplete
| Assess Lighting Controls | n |  | Required | Incomplete
| Conduct Lighting Performance Assessment | n |  | Required | Incomplete
| Evaluate Lighting Health and Safety Conditions | n |  | Required | Incomplete
| Review Lighting Operations and Maintenance Procedures | n |  | Required | Incomplete
Assessing Indoor Air Quality and Ventilation System | Assess Type of Ventilation System | n |  | Required | Incomplete
| Assess Ventilation Distribution System | n |  | Required | Incomplete
| Assess Ventilation Controls | n |  | Required | Incomplete
| Conduct Ventilation Performance Assessment | n |  | Required | Incomplete
| Evaluate Ventilation Requirements | n |  | Required | Incomplete
| Identify Potential Hazard Sources | n |  | Required | Incomplete
| Review Ventilation Operations and Maintenance Procedures | n |  | Required | Incomplete
Assessing Additional Loads and Sources | Identify Additional Loads | n |  | Required | Incomplete
| Identify Additional Water Loads | n |  | Required | Incomplete
| Conduct Performance Assessment for Additional Loads and Sources | n |  | Required | Incomplete
| Evaluate Health and Safety Conditions for Additional Loads and Sources | n |  | Required | Incomplete
| Assess Operations and Maintenance Procedures for Additional Loads and Sources | n |  | Required | Incomplete
Assessing Domestic Hot Water Systems | Identify Domestic Hot Water Systems | n |  | Required | Incomplete
| Assess Domestic Hot Water Distribution System(s) | n |  | Required | Incomplete
| Evaluate Health and Safety Conditions for Domestic Hot Water System | n |  | Required | Incomplete
| Conduct Domestic Hot Water System Performance Assessment | n |  | Required | Incomplete
| Measure Water Consumption | n |  | Required | Incomplete
| Review Domestic Hot Water Operations and Maintenance Procedures | n |  | Required | Incomplete
Developing an Energy Performance Plan | Generate List of Energy Conservation Measures | n |  | Required | Incomplete
| Generate List of Non-Energy Conservation Measures | n |  | Required | Incomplete
| Identify additional energy-related opportunities, including renewable energy generation | n |  | Recommended | Incomplete
| Identify opportunities for replacing fossil fuel combustion equipment with decarbonized equipment | n |  | Recommended | Incomplete
| Create Energy Performance Plan Report | n |  | Required | Incomplete
Performing Post-Audit Activities | Provide Owner Construction Assistance | n |  | Required | Incomplete
| Verification of Installed Measures | n |  | Required | Incomplete
| Complete Programmatic Documentation | n |  | Required | Incomplete
| Assist with Post-Retrofit Education | n |  | Required | Incomplete

## Sheet1 (hidden)
Y
N