|  | WHAT? A common wall, also known as a party wall, fire wall, fire separation wall, townhouse separation wall, or tenant separation wall, can be described as a fire-resistance rated wall that extends continuously from the foundation to the underside of fire protected roof sheathing. These are most common in multi-family units. |
| --- | --- |
|  | WHY? The purpose of a common wall is to prevent the spread of fire from one unit to another, and to allow the collapse of a unit that is on fire without structurally impacting the adjacent unit. Proper air sealing this common wall is critical in a fire situation because it allows less transfer of smoke and hot gas in one direction, and less oxygen to feed the fire in the other direction. Other benefits to a well-sealed party wall: - Energy efficiency and comfort is improved by reducing infiltration and the energy required to condition that air. - IAQ is improved by reducing odor and contaminated air transfer from adjacent units or common areas. - Reduced sound transfer between units. - If lobby doors or unit windows are left open, air-sealing greatly reduced or eliminates the chimney or stack effect upward through the building. |
|  | HOW? |

THE IMPORTANCE OF DRAFTSTOPPING AND FIREBLOCKING PARTY WALLS