|  | WHAT? Another way to significantly reduce water heating energy is through installation of a tankless water heater. It provides on-demand heated domestic water—without the standby losses associated with tank storage water heaters. Here, the tank allows a considerably large volume of water to be used in a very short time. |
| --- | --- |
|  | WHY? Often, high-efficiency endless hot water heaters can provide hot water at a rate of 2 to 5 gallons per minute. Other benefits include small size and longer life expectancy. These water heaters minimize wasted energy, producing lower-cost hot water that never runs out. |
|  | HOW? A gas tankless water heater’s basic components include a high-powered burner, fan, and heat exchanger. When a hot water tap is turned on, cold water enters the unit from the cold water supply and a sensor detects the water flow; then it activates a heating device, which raises the water temperature to a preset level. The heating element shuts off when the water flow from the fixture stops. These water heaters only consume energy when they are on. When installing a tankless water heater, the unit should be level and rust-and corrosion-proof hardware should be used. |

WATER HEATERS USE VARIOUS MEANS FOR FUEL: SOLAR WATER HEATERS